Belgium FNA — Output & Charts Guide

How to read the result workbook sheets and chart images a run produces, grouped by the parameter they describe. Each run writes one output workbook plus an images/ folder under data/outputs/runs/<run_id>/.

# 1. Where outputs live

- <input>-output.xlsx — all result + indicator sheets (numbered by family below).

- images/ — every chart as PNG; the same charts are embedded in the workbook chart sheets (17, 40, 54).

- run_metadata.json + sheets 99 — what/where/when the run executed (settings, CPU/OS/GAMS, timing).

# 2. Result sheets (raw operation)

The hour-by-hour solution of the dispatch. Read these to see what the system actually did.

| Sheet | Shows | How to read |
| --- | --- | --- |
| 30_Summary_Tables | Headline KPIs | Start here: total cost, curtailment, ENS, peak residual load, reserve shortfalls — one number each. |
| 31_Dispatch_Raw | Generation/storage/trade per hour | Per resource per period MW; basis for the dispatch charts. |
| 32_Price | Marginal price per hour | Shadow price of the balance constraint (diagnostic, not a market price). |
| 33_Residual | Residual load & balance | Demand − RES, plus curtailment, ENS, net imports, ramps — the core FNA signal. |
| 34_Storage | Storage SoC + flex up/down | State of charge and charge/discharge per flex unit. |
| 35_Reserve | Reserve adequacy | Requirement vs available vs shortfall per hour. |

# 3. ACER need indicators (the FNA deliverables)

Quantified flexibility needs by category. These are the numbers a Flexibility Needs Assessment reports.

| Need category (ACER Art.) | Sheets | How to read |
| --- | --- | --- |
| RES integration (Art. 8) | 40_FNA_RES_Integration | Curtailed RES energy/power by season/day-type/hour — the downward integration need. |
| Ramping (Art. 9) | 41_FNA_Ramping, 41b_FNA_Ramping_Capacity | Residual-load ramp percentiles (MW/h) and the MW-per-MTU capacity requirement. |
| Short-term (Art. 10) | 42_FNA_ShortTerm, 42b_BySeason, 16_FNA_ShortTerm | Up/down forecast-error reserve needs (percentile bands), overall and per season. |
| Residual duration | 43_FNA_Residual_Duration | Sorted residual-load curve: how often high/low residual load occurs. |
| Network (Art. 11/12/14) | 44_FNA_DSO_Needs, 45_FNA_TSO_Needs, 47_FineTuning_Art14 | Local hosting/congestion needs; only populated when 13_NetworkNeeds/13b_DSO_Zones are filled. |
| Unavailability (Art. 13) | 46_FNA_Unavailability_Needs | Replacement flexibility needed from derating/prequalification limits. |

# 4. Context & provenance sheets

| Sheet | How to read |
| --- | --- |
| 19_DataQuality_Report | Per input sheet: resolution + share of values that are assumption vs historical. Check before trusting results. |
| 48_FNA_Barriers_Summary | Barriers/digitalisation readiness score per category (qualitative context). |
| 99_Run_Metadata / 99b_Scenario_Timings | Run settings, machine (CPU/OS/GAMS), and wall/solve time per run and per MC scenario. |

# 5. Monte Carlo sheets (uncertainty)

Only present for Monte Carlo runs — distributions across PECD weather years, not a single value.

| Sheet | How to read |
| --- | --- |
| 50_MC_Summary | Cost/risk statistics across all scenarios (mean, P5/P50/P95, std-dev). |
| 51_MC_Dispatch_Range | Per-hour dispatch percentile bands across scenarios. |
| 52_MC_Price_Distribution | Price distribution across scenarios. |
| 53_MC_Reserve_Range | Reserve requirement/shortfall percentile bands. |

# 6. Charts & images, by parameter

Chart files are in images/; chart sheets 17 (indicators), 40 (deterministic) and 54 (Monte Carlo) embed them. Grouped below by what they show.

## 6.1 System operation / dispatch (v2_*)

| Chart | How to read |
| --- | --- |
| v2_01_generation_mix, v2_10_stacked_dispatch_price | Stacked generation by technology over time (with price) — the supply stack meeting demand. |
| v2_08_gantt | Unit on/off commitment timeline — which plants run when. |
| v2_06_storage_soc | Storage state of charge over the day(s) — charging troughs, discharging peaks. |
| v2_02_price_curve, v2_09_sankey | Price duration curve; energy-flow Sankey (sources → uses). |

## 6.2 RES integration / curtailment (fna14_*)

| Chart | How to read |
| --- | --- |
| fna14_01_generation_vs_curtailment | Used vs curtailed RES — the integration gap. |
| fna14_02_curtailment_share, fna14_03_curtailment_profile | Curtailment as % of available RES; when in the day/year it bites. |
| fna14_04_necp_target, fna14_05_mc_curtailment_percentiles | Vs policy target; curtailment spread across MC weather years. |

## 6.3 Ramping (fna15_*, v2_03, v2_07)

| Chart | How to read |
| --- | --- |
| fna15_01_ramping_heatmap, fna15_03_ramp_events | When large residual-load ramps occur (hour × season); biggest events. |
| fna15_02_ramp_distribution | Distribution of hourly ramps — tails = extreme flexibility needs. |
| fna15_04_uncovered_ramping_need | Ramp need the fleet could not follow. |
| v2_03_rldc, v2_07_ramp_matrix | Residual load duration curve; hour-to-hour ramp matrix. |

## 6.4 Short-term flexibility / reserves (fna16_*, v2_04, v2_05)

| Chart | How to read |
| --- | --- |
| fna16_01_shortterm_need, fna16_02_..._by_speed | Size of short-term up/down need, split by activation speed. |
| fna16_03_uncovered_by_hour, fna16_04_uncovered_by_season, fna16_05_uncovered_probability | When/with what probability the need is not covered. |
| fna16_06_need_vs_margin, v2_04_flex_needs, v2_05_reserve_margin | Need vs available margin — where margin runs out. |

## 6.5 Uncertainty & risk — Monte Carlo (mc_*)

| Chart group | How to read |
| --- | --- |
| Input bands: mc_02_load, mc_03_solar, mc_03b_wind, mc_04_residual_load, mc_05_price | Percentile bands of the sampled inputs/outputs across weather years — the spread fed in. |
| Risk: mc_01_cost_distribution, mc_07_lole_histogram, mc_08_ens_exceedance_curve, mc_09_event_probabilities, mc_15_reserve_shortfall_prob | Cost spread and adequacy risk (LOLE, ENS exceedance, shortfall probability). |
| Value/adequacy: mc_10_efficiency_frontier, mc_11_elcc_placeholder | Cost-vs-risk frontier; capacity-credit placeholder (needs a 2-run comparison). |
| Distributions: mc_12_ramp_matrix, mc_13_dispatch_uncertainty, mc_14_reserve_percentiles, mc_16_flex_activation, mc_17_price_boxplot, mc_18_price_distribution | Per-parameter percentile views across scenarios. |
| mc_19_correlation_heatmap, mc_06_workflow | Correlation between metrics; the MC methodology diagram. |

Reading order: 30_Summary → the relevant need sheet (40–48) → its chart group above → for MC, the 50–53 sheets and mc_* risk charts. Check 19_DataQuality_Report and the amber-flagged input sheets before quoting any figure.